## Introduction
BS 7801 Compliance Audit
This pro-forma may be used to determine your compliance with BS7801:2011 Section 5: Responsibilities of manufacturers, installers, maintainers and persons working on escalators and moving walks.
This may be useful as gap analysis in your own methods and procedures and may assist in continuous improvement. A copy of the standard must be available to assist completion
The pro-forma is split into the same sections as the Standard as given below. Each should be completed in the appropriate tab. The score for each section will then be automatically totalled on sheet 'Total Scores'.
Clause | Title
5.1 | Training
5.2 | General
5.3 | Risk Assessment
5.4 | Well-being of Persons Working Alone
5.5 | Working on Landings and Outside the Step Band/ Pallet Band
5.6 | Working Within the Escalator or Moving Walk
5.7 | Machine Rooms (Machinery Spaces Outside of the Truss)
5.8 | Hand-winding
5.9 | Entrapment
Annex A | Typical Signs and Notices
AnnexB | Additional Procedures for Modernization, Major Repair and Dismantling - Responsibilities of Owners and Persons working on Escalators and Moving Walks
Annex C | Guidance on Risk Assessment
You can print a copy of this Guide if you wish

## Total Scores
LEIA Self assessment audit : BS7801:2011
Company: |  |  | Max Points | Points Awarded
5.1 | Training |  | 70 | 0 | 0%
5.2 | General |  | 105 | 0 | 0%
5.3 | Risk Assessment |  | 30 | 0 | 0%
5.4 | Well-being of persons working alone |  | 40 | 0 | 0%
5.5 | Working on landings and outside the step band/pallet band |  | 50 | 0 | 0%
5.6 | Working within the escalator or moving walk |  | 60 | 0 | 0%
5.7 | Machine rooms (machinery spaces outside of the truss) |  | 50 | 0 | 0%
5.8 & 5.9 | Hand-winding & Entrapments |  | 40 | 0 | 0%
Annex A | Typical signs & notices |  | 20 | 0 | 0%
Annex B | Additional Procedures |  | 75 | 0 | 0%
Annex C | Guidance on Risk Assessments |  | 130 | 0
Date: |  | TOTAL | 670 | 0 | 0%

## 5.1 Training
Safety management – Responsibilities of manufacturers, installers, maintainers and persons working on escalators and moving walks There are certain hazards in machinery spaces relating to moving and rotating machinery and electrical equipment, etc., that are similar to those experienced in other industrial workplaces. These are expected to have been identified in the risk assessment. The recommendations given in this clause are applicable to persons (duty holders) responsible for, and involved in, the design, installation, thorough examination, inspection, testing, service, maintenance, repair or dismantling of escalators and moving walks. Owners of escalators and moving walks and persons having effective control of the premises in which escalators and moving walks are installed, should read Clause 4. It should be noted that not every escalator or moving walk or their environment and associated facilities are identical, modern, or similarly positioned, nor should it be assumed that they comply with the current standards.
5.1 Training
|  |  | Max Points | Points Awarded | Comments
5.1.1 All Personnel
Do the following possess demonstrable competence in basic escalator or moving walk safety and procedures, or do they work under relevant supervision?
a | Those working on an escalator, moving walk or related equipment |  | 10 |  |  | Relevant supervision could be provided by any person who possesses demonstrable competence in basic escalator and moving walk safety procedures.
b | Those working within the escalator or moving walk machine room or machinery space |  | 10 |  |  | A suitable level of qualification is NVQ EOR/204, although other equivalent qualifications exist.
c | Those carrying out risk assessments |  | 10 |  |  | Where a full range of work activities is not contemplated, training need only be provided for those activities that are to be carried out, e.g. cleaning, lighting maintenance, electrical installation work.
5.1.2 Escalator and moving walk crafts persons
d | Do escalator and moving walk crafts persons possess demonstrable competence and an appropriate qualification for the tasks they are to carry out |  | 10
5.1.3 & 5.1.4 only applicable to engineer surveyors and consultants
5.1.5 Escalator and moving walk commissioning technicians (or persons carrying out such functions) | [5 empty] | A suitable minimum level of qualification is QCF NVQ 501/0544/9 Engineering Maintenance Level 3 Pathway EMI or its equivalent or QCF NVQ 501/0733/1 Installation and Commissioning Level 3 Pathway ICD or its equivalent. They should also be trained in the safe working procedures contained within BS7801 and should have the experience, skill and knowledge to undertake the commissioning of escalators and moving walks following installation or refurbishment.
e | Do they possess demonstrable competence and an appropriate qualification for the tasks they are to carry out. |  | 10
5.1.6 Other tradespersons
f | Are other tradespersons working within the escalator or moving walk industry competent in their practising trades and do they possess demonstrable competence in basic escalator or moving walk safety and procedures, or are they under relevant supervision |  | 10
g | Are other persons not in the owner’s employment and not working in the escalator or moving walk industry competent in their practising trades and under appropriate supervision when working on or near an escalator or moving walk |  | 10
|  | Score | 70 | 0

## 5.2 General
Safety management – Responsibilities of manufacturers, installers, maintainers and persons working on escalators and moving walks There are certain hazards in machinery spaces relating to moving and rotating machinery and electrical equipment, etc., that are similar to those experienced in other industrial workplaces. These are expected to have been identified in the risk assessment. The recommendations given in this clause are applicable to persons (duty holders) responsible for, and involved in, the design, installation, thorough examination, inspection, testing, service, maintenance, repair or dismantling of escalators and moving walks. Owners of escalators and moving walks and persons having effective control of the premises in which escalators and moving walks are installed, should read Clause 4. It should be noted that not every escalator or moving walk or their environment and associated facilities are identical, modern, or similarly positioned, nor should it be assumed that they comply with the current standards.
5.2 General
|  |  | Max Points | Points Awarded | Comments
5.2.1 Responsibility for Work on Site
a | Are suitably qualified persons appointed for all work on site? |  | 5
b | is there someone in charge of the site? |  | 5
c | are there safe systems of work provided? |  | 5
d | Has owner been advised of risks associated with the work |  | 5
5.2.2 Liaison | [5 empty] | Precautions can become necessary owing to environmental factors e.g. particularly where children are present in the vicinity.
e | Is the owner aware of the work being carried out? |  | 5
5.2.3 Personnel Protective Equipment
f | Has the requirement for PPE been identified by Risk Assessment? |  | 5
g | has the required PPE been provided? |  | 5
5.2.4 Electrical Equipment
h | Is the electrical supply provided by the owner or Principal Contractor? |  | 5 |  |  | The integrity of the temporary or permanent electrical supply is the responsibility of the owner or Principal Contractor
i | If live working is to be carried out is it unavoidable, carried out by an authorized person and established by Risk Assessment? |  | 5
5.2.5 Removal from Service
j | Have barriers with safety signs been placed when necessary following removal from service? |  | 5 |  |  | See Annex A
5.2.6 Housekeeping
| In accordance with the Standard, is housekeeping acceptable? |  | 5 |  |  | A high standard of cleanliness and general housekeeping is necessary as a precaution against the risk of fire, especially when flame cutting, welding or grinding work is being carried out
k | Is there a procedure for the avoidance of build-up of waste? |  | 5
l | Is there a procedure for the control and safe disposal of waste? |  | 5
m | is the re a procedure for the cleaning of the exterior? |  | 5
n | is the equipment protected from the build-up of water from weather conditions? |  | 5
5.2.7 Health and Safety File
o | Are persons working on the escalator or moving walk aware that the information specific to the installation is held in the health and safety file? |  | 5
p | During the construction phase, has the Principal Contractor provided all relevant information to the Principal designer? |  | 5
5.2.8 Effect on persons at the premises
q | is disruption minimized? |  | 5
5.2.9 Access to Tools, Equipment and materials
r | is there safe access to tools, equipment and materials? |  | 5
s | is there safe storage of tools, equipment and materials? |  | 5
5.2.10 Permit to Work
t | If appropriate, has a PTW been obtained? |  | 5 |  |  | If NA assessor should score max
5.2.11 Modernization, Major repair and dismantling
| if applicable, refer to Annex B |  | 0
|  | Score | 105 | 0

## 5.3 Risk Assessment
Safety management – Responsibilities of manufacturers, installers, maintainers and persons working on escalators and moving walks There are certain hazards in machinery spaces relating to moving and rotating machinery and electrical equipment, etc., that are similar to those experienced in other industrial workplaces. These are expected to have been identified in the risk assessment. The recommendations given in this clause are applicable to persons (duty holders) responsible for, and involved in, the design, installation, thorough examination, inspection, testing, service, maintenance, repair or dismantling of escalators and moving walks. Owners of escalators and moving walks and persons having effective control of the premises in which escalators and moving walks are installed, should read Clause 4. It should be noted that not every escalator or moving walk or their environment and associated facilities are identical, modern, or similarly positioned, nor should it be assumed that they comply with the current standards.
5.3 Risk Assessment
|  |  | Max Points | Points Awarded | Comments
a | Has a risk assessment been carried out to establish a safe system of work? |  | 10 |  |  | See Annex C
b | Has the risk assessment been submitted to the owner or Principal Contractor? |  | 10
c | Is any deviation from the RA required; if so, has this been approved? |  | 10
|  | Score | 30 | 0

## 5.4 Well-being
Safety management – Responsibilities of manufacturers, installers, maintainers and persons working on escalators and moving walks There are certain hazards in machinery spaces relating to moving and rotating machinery and electrical equipment, etc., that are similar to those experienced in other industrial workplaces. These are expected to have been identified in the risk assessment. The recommendations given in this clause are applicable to persons (duty holders) responsible for, and involved in, the design, installation, thorough examination, inspection, testing, service, maintenance, repair or dismantling of escalators and moving walks. Owners of escalators and moving walks and persons having effective control of the premises in which escalators and moving walks are installed, should read Clause 4. It should be noted that not every escalator or moving walk or their environment and associated facilities are identical, modern, or similarly positioned, nor should it be assumed that they comply with the current standards.
5.4 Well-being of persons working alone
|  |  | Max Points | Points Awarded | Comments
No person should work alone in unoccupied premises
a | Has a risk assessment been carried out for authorized lone working? |  | 10
b | Has the authorized registered their presence with a site representative? |  | 10
c | Is there a process in place for lone working monitoring? |  | 10 |  |  | The process for monitoring should include how to organise emergency assistance, confirming well-being and method of informing the responsible person off site
d | Is the lone worker's well-being monitored at suitable intervals? |  | 10
|  | Score | 40 | 0

## 5.5 Working on Landings
Safety management – Responsibilities of manufacturers, installers, maintainers and persons working on escalators and moving walks There are certain hazards in machinery spaces relating to moving and rotating machinery and electrical equipment, etc., that are similar to those experienced in other industrial workplaces. These are expected to have been identified in the risk assessment. The recommendations given in this clause are applicable to persons (duty holders) responsible for, and involved in, the design, installation, thorough examination, inspection, testing, service, maintenance, repair or dismantling of escalators and moving walks. Owners of escalators and moving walks and persons having effective control of the premises in which escalators and moving walks are installed, should read Clause 4. It should be noted that not every escalator or moving walk or their environment and associated facilities are identical, modern, or similarly positioned, nor should it be assumed that they comply with the current standards.
5.5 Working on Landings and outside the step band/ pallet band
|  |  | Max Points | Points Awarded | Comments
a | Has the risk assessment taken account of third parties? |  | 10 |  |  | Special care should be taken wher equipment is located in an open area e.g. atria
b | Have barriers with safety signs been provided and used? |  | 10 |  |  | Safety barriers should be provided bythe owner See Annex A
c | is there a process in place should the works need to be left unattended? |  | 10
d | Is there a process in place for effective communication between two or more persons working? |  | 10
e | Is there a process in place for reinstatement of equipment? |  | 10
|  | Score | 50 | 0

## 5.6 Working within Equipment
Safety management – Responsibilities of manufacturers, installers, maintainers and persons working on escalators and moving walks There are certain hazards in machinery spaces relating to moving and rotating machinery and electrical equipment, etc., that are similar to those experienced in other industrial workplaces. These are expected to have been identified in the risk assessment. The recommendations given in this clause are applicable to persons (duty holders) responsible for, and involved in, the design, installation, thorough examination, inspection, testing, service, maintenance, repair or dismantling of escalators and moving walks. Owners of escalators and moving walks and persons having effective control of the premises in which escalators and moving walks are installed, should read Clause 4. It should be noted that not every escalator or moving walk or their environment and associated facilities are identical, modern, or similarly positioned, nor should it be assumed that they comply with the current standards.
5.5 Working within the escalator or moving walk
|  |  | Max Points | Points Awarded | Comments
Is there a process for safe systems of working on live escalators and moving walks including:
a | Safe Access? |  | 5
b | Isolation of supply including Lock-off and tag-out? |  | 5
c | inspection control functions? |  | 10
d | means of fixing controllers securely? |  | 10
e | Check for unauthorized persons? |  | 10
g | Is there a process for controlling excessive noise, dust or fumes? |  | 10
h | Are the levels of lighting in the machinery spaces adequate to provide a safe working environment? |  | 10
|  | Score | 60 | 0

## 5.7 Machine Rooms
Safety management – Responsibilities of manufacturers, installers, maintainers and persons working on escalators and moving walks There are certain hazards in machinery spaces relating to moving and rotating machinery and electrical equipment, etc., that are similar to those experienced in other industrial workplaces. These are expected to have been identified in the risk assessment. The recommendations given in this clause are applicable to persons (duty holders) responsible for, and involved in, the design, installation, thorough examination, inspection, testing, service, maintenance, repair or dismantling of escalators and moving walks. Owners of escalators and moving walks and persons having effective control of the premises in which escalators and moving walks are installed, should read Clause 4. It should be noted that not every escalator or moving walk or their environment and associated facilities are identical, modern, or similarly positioned, nor should it be assumed that they comply with the current standards.
5.7 Machine rooms
|  |  | Max Points | Points Awarded | Comments
a | Is there safe access and egress? |  | 10
b | Are safety signs in place? |  | 10 |  |  | See Annex A
c | Is acess to unauthorized persons prevented? |  | 10
d | Is there a process in place for effective communication between two or more persons working? |  | 10
e | Are live working procedures established and in place? |  | 10
|  | Score | 50 | 0

## 5.8 hand-winding 5.9 Entrapment
Safety management – Responsibilities of manufacturers, installers, maintainers and persons working on escalators and moving walks There are certain hazards in machinery spaces relating to moving and rotating machinery and electrical equipment, etc., that are similar to those experienced in other industrial workplaces. These are expected to have been identified in the risk assessment. The recommendations given in this clause are applicable to persons (duty holders) responsible for, and involved in, the design, installation, thorough examination, inspection, testing, service, maintenance, repair or dismantling of escalators and moving walks. Owners of escalators and moving walks and persons having effective control of the premises in which escalators and moving walks are installed, should read Clause 4. It should be noted that not every escalator or moving walk or their environment and associated facilities are identical, modern, or similarly positioned, nor should it be assumed that they comply with the current standards.
5.8 Hand-winding and 5.9 Entrapments
|  |  | Max Points | Points Awarded | Comments
Hand-winding
a | Are hand-winding facilities provided? |  | 10
b | Are persons suitably trained and authorized to carry out hand-winding? |  | 10
c | Are instructions provided for hand-winding? |  | 10
Entrapments
d | Is there a process for entrapments? |  | 10
|  | Score | 40 | 0

## Annex A
Annex A (informative) Typical signs and notices Figure A.1 and Figure A.2 show black-and-white reproductions of the coloured safety signs that are recommended for use when work is being carried out on escalators and moving walks. The signs are in accordance with BS 5499-5.
|  |  | Max Points | Points Awarded
Comments
a | Are appropriate signs being used when work is carried out on escalators and moving walks? |  | 10
b | Are these signs in accordance with BS5499-5? |  | 10
|  | Score | 20 | 0

## Annex B
Annex B (normative) Additional procedures for modernization, major repair and dismantling – Responsibilities of owners and persons working on escalators and moving walks Many of the activities associated with the modernization, major repair and dismantling of escalators and moving walks are similar to those elsewhere in the construction industry. The hazards and safeguards are covered by regulations and well-established practices. Only those practices that are particular to the escalator and moving walk industry are described in this annex. Attention is drawn to the CDM Regulations 2010 [1]. This annex indicates areas for attention and might not be comprehensive in all circumstances.
B.1 Work Platforms
|  |  | Max Points | Points Awarded
B.1.1 |  |  |  |  | Comments
a | Are all platforms provided with suitable guard rails, toe-boards and, if necessary, some form of overhead protection? |  | 5
B.1.2
b | Is the safe working load of the platform prominently displayed? (Attention is drawn to The Provision and Use of Work Equipment Regulations 1998) During installation and/or dismantling works, manually or electrically driven work platforms may be used, but these could present other hazards. |  | 5
B.2 New buildings under construction B.2.1
c | Has temporary protection been erected where new buildings are under construction, at all areas presenting a hazard to the installation work, as determined by a risk assessment? NOTE Most of the problems arise from the need to protect open areas in or at the edges of the floor slabs in order to prevent persons or objects falling through the open areas. |  | 5
B.2.2
d | Is the type of protection provided to the standard that is used elsewhere on construction sites? To include guard rails, mid-rails and toe-boards, which should be in position at all times, except during the passage of materials and persons working on the escalator or moving walk. |  | 5
B.3 Existing buildings. The recommendations given in this subclause are applicable when existing escalators or moving walks are being modernized or dismantled B.3.1.
e | Has the escalator or moving walk contractor agreed with the owner a suitable means of temporarily protecting the work area as determined by a risk assessment? |  | 5
B.3.2
f | Is the owner aware of their duty to make all necessary arrangements to temporarily strengthen any work areas required to bear unusual loads? |  | 5
B.4. Temporary electrical suppliess and lighting
g | Have temporary electrical supplies and lighting for all workplaces been provided in accordance with BS7671? |  | 5
B.5. Environment B.5.1
h | Have risk assessments for eliminating or adequately controlling the risk arising from the environment been carried out? |  | 5
B.5.2
i | Has the generation of excessive noise or toxic fumes during major works on escalator and moving walks, wherever possible, been avoided? |  | 5
B.6 Fire Hazards
j | Has enough care been taken to avoid the accumulation of flammable materials or litter in work spaces, especially when “hot work” is in progress, e.g. flame cutting, grinding or welding. In these circumstances, fire extinguishers should be located in the vicinity.Has a “hot work” permit been completed? |  | 10
B.7 Manual Handling
k | Are items of equipment lowered in a controlled manner and not allowed to free-fall? |  | 10
B.8 Work at height
l | Particular care should be taken when working at height, including the use of appropriate fall protection equipment (e.g. barriers, personal protective equipment and similar means of protection) and working platforms (arrangement and stability). NOTE Attention is drawn to The Work at Height Regulations 2005 |  | 10
|  | Score | 75 | 0

## Annex C
Annex C (Informative) Guidance on risk assessments
C.1 Typical risk assessment procedure |  |  | Max Points | Points Awarded
Comments
a | Are risk assessments carried out and documented? |  | 5
C.2 Factors to be taken into account
b | The following list, which is not exhaustive, gives an indication of some of the factors that are typically taken into account during a risk assessment:
| Is there is safe means of access to, and egress from, each place of work? |  | 5
| What is the extent and nature of the work to be carried out? |  | 5
| Type of escalator or moving walk, control system, etc? |  | 5
| Is an inspection control facility, as specified in BS EN 115-1:2008+A1:2010 (5.12.2.5) provided and, if not, what is the procedure for moving the escalator or moving walk for maintenance and inspection purposes? |  | 5
| Is it possible to isolate and/or switch off the escalator or moving walk at the drive and return stations (and the incline)? |  | 5
| Is it possible to isolate and/or switch off the escalator or moving walk auxiliary equipment? |  | 5
| Are there adequate safe working spaces/ clearances in the drive and return stations? |  | 5
| Is a step/pallet locking device available, i.e. if work needs to be undertaken within the space created by the step or pallet removal? |  | 5
| How is work to be carried out and what is the number, trade and skill level of personnel needed to carry out the work? |  | 5
| What is the anticipated equipment required to carry out the work and what are the arrangements made for it to be available at the appropriate time? |  | 5
| What is the availability, location and suitability of safety barriers? |  | 5
| What are the working conditions in the machine rooms/ machinery spaces which are located remotely from the truss? |  | 5
| Are there periods during which the escalator or moving walk is available for the work to be carried out? |  | 5
| Is it anticipated that more than one person is going to be working on or near the same escalator or moving walk installation? |  | 5
| Are facilities and procedures (including first aid) are available for dealing with emergencies that might arise on site? |  | 5
| Is there adequate working space for the activity to be undertaken? |  | 5
| Is adequate lighting available and whether it is temporary or permanent? |  | 5
| Is adequate signage displayed on all electrical equipment? |  | 5
| Is suitable certificated lifting equipment available? |  | 5
| Are there any special precautions to be taken due to the presence of people using adjacent escalators or moving walks, stairways, etc? |  | 5
| What is the condition of access to and from the site for materials? |  | 5
| Are the facilities for, and means of control of, the storage of materials suitable? |  | 5
| Is there a need to work on unguarded moving machinery |  | 5
| Is there a need to operate the escalator or moving walk with steps or pallets removed? |  | 5
| Is there a need to leave the escalator or moving walk unattended with steps or pallets removed? |  | 5
C.3 Significant Hazards - no score - for reference only
Table C.1 gives a list of the significant hazards that have been used to develop this British Standard, and gives cross-references to the relevant subclauses in this British Standard for each hazard listed. Table C.2 expands on the information given in Table C.1, giving cross-references to the relevant sub clauses for a number of specific work areas as defined in BS EN 13015. The list of significant hazards in Table C.1 and Table C.2 refers to escalators and moving walks affixed to the building structure intended for the transportation of persons and is relevant to:
the safety of persons when gaining access to and from the work areas of escalator and moving walks;
the safety of persons while working on escalator and moving walks;
the safety of others present in the vicinity, whether they be working or not, who could be endangered by the actions of those working on escalators and moving walks.
|  | Score | 130 | 0